## Slide 1: Group 4: Acoustic Filter Design for Silent Temperature Humidity Chamber
Mar. 4, 2022
Ben Masters, Senior in Acoustical Engineering
Eunseob Kim, Ph.D. Candidate in Mechanical Engineering
Jinghe Yu, M.S. Student in Mechanical Engineering
ME613: Advanced Engineering Acoustics
Homework 2 Presentation

## Slide 2: Introduction
Temperature humidity chamber (climate testing)
Scenario
  Main frequency of the condenser fan is around 300 Hz.
  Other components generate noise in wide frequency range.
Goal: Design acoustic filters to protect graduate students
Schematic of temperature humidity chamber
Water tank
Parking caster
Water pump
Compressor
Solenoid valve
Humidity heater
Evaporator
Temperature heater
Humidity sensor
Temperature sensor
Centrifugal fan
Motor
Exhaust vent
Chamber
Door
Door handle
Condenser and fan
Noise generating component
Acoustic filter
Air Inlet
Air Outlet
Air circulation
Temperature humidity chamber and graduate student

## Slide 3: Acoustic filter system
Design objective
  Design each acoustic filter element to reduce sound transmission in all given frequency range (0 ~ 2000 Hz).
  Find the proper order of elements
  Main target frequency: 300 Hz
Assumption
  Medium is air.
  There is no dissipation.
  Outlet is anechoically terminated.
  Plane wave is propagating through the system.
  Mean flow velocity of air is near zero (M =0).
Upstream
Downstream
4 Straight pipes
Expansion chamber
Orifice
Helmholtz resonator
d
l
Medium: air
Given:
d = 25 mm
l = 100 mm
0 < f < 2000 Hz
Acoustic filter system

## Slide 4: Design of acoustic filter: Transfer matrix approach
x
Expansion chamber
Orifice
Helmholtz resonator
x=0
x=L
1
R
Te-jkL
①
②
③
④
⑤
⑥
⑦
⑧
Anechoic termination
ρ0: Density of air
c: Speed of sound
k: Wavenumber
[T]: Transfer matrix
Tij: Element of transfer matrix
p: Pressure
u: Particle velocity
S: Cross-section area
U: Volume velocity (= Su)
R: Reflection coefficient
RП: Power reflection coefficient
T: Transmission coefficient
TП : Power transmission coefficient
TL: Transmission loss
Nomenclature
s: straight pipe
e.c: expansion chamber
o: orifice
H: Helmholtz resonator
Abbreviation
… (1)
… (2)

## Slide 5: Modeling of transfer matrix of each element
|T|2
f
High-pass
Band-stop
|T|2
f
Assumption
No mean air flow through expansion and contraction (All elements)
No viscous & thermal losses and no radiation to infinity (Helmholtz)
Expansion chamber
de
le.c
|T|2
f
Low-pass
where
Orifice
Helmholtz resonator
rH
aH
lH
0
ao
lo
Straight pipe
where
where
and
0
*Flanged end-correction
*Unflanged end-correction
d
l
where

## Slide 6: Parameter tunning (1): Expansion chamber
Sub-objective: a low-pass filter with wide stop band and high attenuation rate
For higher attenuation, we also need larger diameter:
To avoid oscillation:
Let in the frequency range of 0 ~ 2 kHz


de
le
1
R
T
Expansion chamber and parameters

## Slide 7: Parameter tunning (2): Orifice
Sub-objective: a high-pass filter with wide stop band and high attenuation rate
ao
lo
For a wider stop band, we need larger diameter and smaller length:

Orifice and parameters
1
R
T

## Slide 8: Parameter tunning (3): Helmholtz resonator
Sub-objective: a band-stop filter to attenuate the bump caused by transition regions of high and low pass filters
The fn is finally tuned to be around 300 Hz:

rH
aH
lH
Helmholtz resonator and parameters
1
R
T

## Slide 9: Effect of order of elements
We see 3 'sets' of results
Why is this?
  A filter operates the same 'forwards' and 'backwards'
  e.g.,
performs equivalently to
E
O
H
H
O
E
O
E
H
O
E
H
H
E
O
O
H
E
=
=
=

## Slide 10: Performance of entire system (E-H-O order)
Expansion chamber
Orifice
Helmholtz Resonator

## Slide 11: Effect of the total length of the system
Increasing the total length increases the number of peaks we see in the transmission coefficient

## Slide 12: Summary & Discussion
Objective: Design an acoustic filter to reduce noise from a temperature humidity chamber
  Problematic 300 Hz noise produced by condenser fan
  Also looking to attenuate the entire frequency range
Our Filter:
Results:
300 Hz
300 Hz
Expansion chamber
Orifice
Helmholtz Resonator
80
10
Unit: mm

## Slide 13: Summary & Discussion, cont.
Verification of Results by Summation of Power Coefficients to Unity:
  The Power Transmission and Power Reflection Coefficients do sum to 1 at all frequencies
Transmission Loss of Individual Components vs. Whole System:
  The sum of the TL of components is NOT equal to the total TL.

## Slide 14: Summary & Discussion, cont.
Input Impedance:
  Resonance greatly influenced by length of the system
  The resonance points can be associated with the length of the expansion chamber
  The real impedance implies an energy loss in the system, which in this case does not represent dissipation, but rather energy leaving the system at the outlet.
le = 42.5 mm (design)
le = 200 mm
Expansion chamber
Expansion chamber

## Slide 15: Thank you for your attention!